## Trafo Stations
Additional information about the Public Lighting Project
Data about trafo-stations (TS)
Cluster no. 1 | Savino Selo
Explanations
1) Type of TS | 2) Way of connecting/disconnecting PL | 3) PL controlling system | 4)Type of controlling
Brick | From TS | MTK | Full night = FO
Metal | Relay ( specify which TS runs a series) | RTK | Half night = HN
MBTS |  | Timer | Decrease the brightness = P
In the building |  | Photooto-relay
Tower |  | RTK
PVC |  | Other
Steel Pole
On concrete pillar
steel "portal"
wooden "portal"
other
1 Trafo-station (TS) and technical data | TS 1
2 Name: | Kosovska | year: | 2012
3 Electro-distribution: | Sombor | Input circuit: | 125A, 125A, 125A
4 Type of TS1): | Steel Pole | Output Circuit: | 35A, 35A, 35A, 35A
5 Adress | XXX BB | Constant: | 1
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 250 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | Foto-rele
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | DB2 Enel Beograd
13 Registration number of metering system: | 286088
14 Nominal Current [A] (if the information is available): | 10-60A
15 Consumer Number: | 89 37583
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 2
2 Name: | M. Tita
3 Electro-distribution: | Sombor | year: | 125A, 160A, 125A
4 Type of TS1): | Tower | Input circuit: | 100A, 80A, 80A, 80A
5 Adress | Maršala Tita BB | Output Circuit: | 20
6 Number of transformers (if the information is available): |  | Constant:
7 Installed capacity of each transformer [kW] (If the information is available): | 400 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | RTK
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T3CTV ISKRA
13 Registration number of metering system: | 6154834
14 Nominal Current [A] (if the information is available): | 5A
15 Consumer Number: | 89 5350
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 3
2 Name: | Janka Čmelnika | year: | 1985
3 Electro-distribution: | Sombor | Input circuit: | 125A, 125A, 125A
4 Type of TS1): | Steel Pole | Output Circuit: | 80A, 63A, 100A, 36A
5 Adress | Janka Čmelniika BB | Constant: | 1
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 250 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | RTK
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T28FU Iskra Kranj
13 Registration number of metering system: | 7184433
14 Nominal Current [A] (if the information is available): | 10-60A
15 Consumer Number: | 89 31917
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 4
2 Name: | Bratstva Jedinstva | year: | 1972
3 Electro-distribution: | Sombor | Input circuit: | 100A, 160A, 160A
4 Type of TS1): | Tower | Output Circuit: | 80A, 63A, 100A, 100A
5 Adress | Bratstva Jedinstva BB | Constant: | 20
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 400 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | Photo Relay
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T22t Iskra Kranj
13 Registration number of metering system: | 1242810
14 Nominal Current [A] (if the information is available): | 5A
15 Consumer Number: | 89 5784
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 5
2 Name: | Ive Lole Ribara | year: | 1997
3 Electro-distribution: | Sombor | Input circuit: | 80A, 63A, 80A
4 Type of TS1): | Steel Pole | Output Circuit:
5 Adress | Ive Lole Ribara BB | Constant:
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 160 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | RTK
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | 10A2N4211 Rudi Čajavec
13 Registration number of metering system: | 13127
14 Nominal Current [A] (if the information is available):
15 Consumer Number: | 89 40398
16 Remote Reading [yes/no]: | ne
1 Trafo-station (TS) and technical data | TS 6
2 Name: | Nikola Tesla | year: | 1996
3 Electro-distribution: | Sombor | Input circuit: | 100A, 100A
4 Type of TS1): | Steel Pole | Output Circuit:
5 Adress | Bratstva-Jedinstva BB | Constant: | 20
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 400 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | Phto-relay
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | TP3d05R Ei Niš
13 Registration number of metering system: | 1136
14 Nominal Current [A] (if the information is available): | 5A
15 Consumer Number: | 89 5644
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 7
2 Name: | Zodijak | year: | 1965
3 Electro-distribution: | Sombor | Input circuit: | 32A
4 Type of TS1): | Steel Pole | Output Circuit:
5 Adress | Maršala Tita BB | Constant: | 1
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 160 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | RTK
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T3Ct1 Iskra Kranj
13 Registration number of metering system: | 7184448
14 Nominal Current [A] (if the information is available): | 10-60A
15 Consumer Number: | 89 16217
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 8
2 Name: | Mlin | year: | 1982
3 Electro-distribution: | Sombor | Input circuit: | 80A, 160A
4 Type of TS1): | Kula | Output Circuit: | 63A, 63A, 80A
5 Adress | Maršala Tita BB | Constant: | 20
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 400 kVA
8 Way of connecting/disconnecting PL2) | iz TS
9 Control System of PL 3) | RTK
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T3Ct1 Iskra Kranj
13 Registration number of metering system: | 6035934
14 Nominal Current [A] (if the information is available): | 5A
15 Consumer Number: | 89 16209
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 9
2 Name: | Petra Drapšina | year: | 1985
3 Electro-distribution: | Sombor | Input circuit: | 100A, 63A, 80A
4 Type of TS1): | Steel Pole | Output Circuit: | 50A, 63A, 50A, 50A
5 Adress | XXX | Constant: | 1
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 400 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | Photo - Relay
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T3FV Iskra Kranj
13 Registration number of metering system: | 6157891
14 Nominal Current [A] (if the information is available): | 10-60A
15 Consumer Number: | 89 53066
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 10
2 Name: | Branko radičević | year: | 1989
3 Electro-distribution: | Sombor | Input circuit: | 80A, 100A, 100A
4 Type of TS1): | Tower | Output Circuit: | 50A, 80A, 80A, 63A
5 Adress | Branka Radičevića BB | Constant: | 20
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 400 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | Photo - Relay
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T3CTV Iskra Kranj
13 Registration number of metering system: | 8057621
14 Nominal Current [A] (if the information is available): | 5A
15 Consumer Number: | 89 5610
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 11
2 Name: | Đure Jakšića | year: | 2012
3 Electro-distribution: | Sombor | Input circuit: | 50A, 50A, 50A
4 Type of TS1): | Steel Pole | Output Circuit:
5 Adress | Đ. Jakšića - M. Tita | Constant: | 1
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available):
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | Photo - Relay
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T3CTV Iskra
13 Registration number of metering system: | 288790
14 Nominal Current [A] (if the information is available): | 10-60A
15 Consumer Number: | 89 203414
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 12
2 Name: | Centar | year: | 1977
3 Electro-distribution: | Sombor | Input circuit: | 160A, 100A, 100A
4 Type of TS1): | Tower | Output Circuit: | 80A, 50A, 100A
5 Adress | Maršala Tita BB | Constant: | 20
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 400 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | RTK
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T22t Iskra
13 Registration number of metering system: | 2721008
14 Nominal Current [A] (if the information is available): | 5A
15 Consumer Number: | 89 5709
16 Remote Reading [yes/no]: | No
1 Trafo-station (TS) and technical data | TS 13
2 Name: | Kosančić Kosa | year: | 1981
3 Electro-distribution: | Sombor | Input circuit: | 63A, 53A, 63A
4 Type of TS1): | Steel Pole | Output Circuit:
5 Adress | Kosančić BB | Constant: | 1
6 Number of transformers (if the information is available):
7 Installed capacity of each transformer [kW] (If the information is available): | 250 kVA
8 Way of connecting/disconnecting PL2) | from TS
9 Control System of PL 3) | Photo - Relay
10 Type of Controlling 4) | CN
11 Exctract and Meter of PL | 1 | 2 | 3 | 4
12 Type: | T3C1
13 Registration number of metering system: | 6012807
14 Nominal Current [A] (if the information is available): | 10-40A
15 Consumer Number: | 89 5954
16 Remote Reading [yes/no]: | No

## Connection Points
Additional information about the Public Lighting Project
Data about connecting points
Cluster number. 1 | Savino Selo
Explanations
5) Category Roads |  |  |  | 6) Prisustvo drugih instalacija |  |  |  | 7) Accessibility for mechanisation
Highway | Header |  |  | ED Mreža Al-Ce |  |  |  | For whole mechanisation
Regional | Accessible |  |  | ED Mreža SKS |  |  |  | Only for light vehicles
City street 1 Class | Pedestrian Zone |  |  | TT |  |  |  | For off-road vehicles
City street 2 Class | Decorative-Monument |  |  | Public Transport |  |  |  | Non-accessible
Rural Street | Decorative-Facade |  |  | Cable TV
Other
1 Name of street | Branka Deletića
2 Length of street [m] | 1426
3 Street Category5) | City street 1 Class
4 Total number of connection points | 39
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Tubular Pole
...
Concrete Pole | 2 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 2 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 1 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 7 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 3 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 3 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 2 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 3 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 3 | 6.5 | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 2 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 7 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
...
Concrete Pole
...
Steel Pole | 1 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Steel Pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Steel Pole | 1 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Steel Pole | 1 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Branka Radičevića
2 Length of street [m] | 1353
3 Street Category5) | City street 1 Class
4 Total number of connection points | 38
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Tubular Pole
...
Concrete Pole | 2 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 3 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 4 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 1 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 2 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 5 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 2 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 6 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 6 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 2 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole
...
Steel Pole | 1 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Steel Pole | 1 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Steel Pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Steel Pole | 1 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Bratstva jedinstva
2 Length of street [m] | 1659
3 Street Category5) | City street 1 Class
4 Total number of connection points | 47
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Tubular Pole
...
Concrete Pole | 3 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 7 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 1 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 2 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 1 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 2 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 7 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 2 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 3 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 4 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 3 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 3 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Steel-grid pole | 1 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Steel-grid pole | 1 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Steel-grid pole | 1 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Steel-grid pole | 1 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Wall
...
Advertisement
...
Other
1 Name of street | Đure Jakšića
2 Length of street [m] | 878
3 Street Category5) | City street 1 Class
4 Total number of connection points | 21
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Tubular Pole | 4 | 3.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
...
Concrete Pole | 1 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 1 | 5.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 2 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 3 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 1 | 5.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete Pole | 4 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Branko Radičević
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Steel-grid pole
Steel-grid pole
Steel-grid pole
Steel-grid pole
...
Wall
...
Advertisement
...
Other
1 Name of street | Ive Lola Ribara
2 Length of street [m] | 1409
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 40
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Wooden Pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Wooden Pole | 2 | 7.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Wooden Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Wooden Pole | 1 | 8 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Wooden Pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Wooden Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Tubular Pole
...
Concrete Pole | 4 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 2 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 4 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 3 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 5 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 2 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Concrete Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Ive Lola Ribara
Steel-grid pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 | 7.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Janka Čmelnika
2 Length of street [m] | 903
3 Street Category5) | Magistralna
4 Total number of connection points | 39
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 4 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Wooden Pole | 5 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Wooden Pole | 1 | 5.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Wooden Pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Wooden Pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Wooden Pole | 2 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Wooden Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Wooden Pole | 4 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Wooden Pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Wooden Pole | 2 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Tubular Pole
...
Concrete Pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 3 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 1 | 8 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Steel-grid pole | 3 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Steel-grid pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Steel-grid pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Kanalska
2 Length of street [m] | 223
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 17
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 3 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Wooden Pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Wooden Pole | 3 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Wooden Pole | 2 | 7.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Wooden Pole | 1 | 8 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Tubular Pole
...
Concrete Pole | 3 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 1 | 6 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Steel-grid pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Steel-grid pole
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Kosovska
2 Length of street [m] | 191
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 5
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Tubular Pole
...
Concrete Pole | 2 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
Concrete Pole | 3 | 7 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Kosovska
...
Concrete supp. 60 angular pole
...
Steel-grid pole
Steel-grid pole
Steel-grid pole
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Maršala Tita
2 Length of street [m] | 1423
3 Street Category5) | Magistralna
4 Total number of connection points | 97
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Wooden Pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Wooden Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Wooden Pole | 1 | 7.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Wooden Pole | 1 | 8 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Tubular Pole | 4 | 3.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Tubular Pole | 4 | 5.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Tubular Pole | 1 | 9 | 35 | 3 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
...
Concrete Pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 5 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 2 | 7.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Concrete Pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 2 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 5 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 4 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 7 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 2 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 7 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 11 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 3 | 7.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 1 | 6.5 | 35 | 2 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 9 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Mlin
Concrete Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Mlin
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Đure Jakšića
Steel-grid pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Steel-grid pole | 1 | 6 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Steel-grid pole | 1 | 6 | 35 | 2 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Steel-grid pole | 1 | 6 | 35 | 2 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Steel-grid pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Steel-grid pole | 5 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Steel-grid pole | 1 | 7.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Steel-grid pole | 1 | 10.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Mlin
Steel-grid pole | 1 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Mlin
Other
1 Name of street | Nikole Tesle
2 Length of street [m] | 164
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 4
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 | 5.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
...
Tubular Pole
...
Concrete Pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Concrete Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
...
Concrete supp. 60 angular pole
...
Steel-grid pole
Steel-grid pole
Steel-grid pole
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Petefi Šandora
2 Length of street [m] | 696
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 18
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Tubular Pole
...
Concrete Pole | 1 | 6 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 4 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 4 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Concrete Pole | 7 | 6.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 |  | 40 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 7.5 | 40 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Janka Čmelnika
Steel-grid pole
Steel-grid pole
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Petra Drapšina
2 Length of street [m] | 908
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 22
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Wooden Pole | 3 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Wooden Pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Wooden Pole | 1 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Wooden Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Tubular Pole
...
Concrete Pole | 3 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 3 | 7 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Concrete Pole | 2 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Mlin
Concrete Pole | 1 | 7.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Mlin
Concrete Pole | 2 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Mlin
Stub - betonski noceci 60 ugaoni
...
Steel-grid pole | 1 | 6.5 | 35 | 1 | ED Mreža Al-Ce | For whole mechanisation | MBTS Nikola Tesla
Steel-grid pole | 1 |  | 35 | 0 | ED Mreža Al-Ce | For whole mechanisation | STS Petra Drapšina
Steel-grid pole
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Slavka Rodića
2 Length of street [m] | 1113
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 29
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Tubular Pole
...
Concrete Pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 4 | 7.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 5 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 2 | 6 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 4 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 2 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 2 | 7.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 1 | 8 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete Pole | 4 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Centar
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Vukomana Kruščića
2 Length of street [m] | 883
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 18
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Wooden Pole | 3 | 5.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Wooden Pole
Wooden Pole
Wooden Pole
Tubular Pole
...
Concrete Pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 6 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 4 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 4 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete Pole | 3 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS M. Tita
Concrete supp. 60 angular pole
...
Steel-grid pole
Steel-grid pole
Steel-grid pole
Steel-grid pole
Brace
...
Wall
...
Advertisement
...
Other
1 Name of street | Železnička
2 Length of street [m] | 435
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 23
Type of connection point | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires at the connection point | Presence of other installations6) | Accessibility to the mechanisation 7) | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 | 5.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Wooden Pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Wooden Pole | 4 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Wooden Pole
Wooden Pole
Tubular Pole
...
Concrete Pole | 2 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 3 | 7.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 8 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 1 | 6.5 | 30 | 2 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete Pole | 4 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 6.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 | 7 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 | 7.5 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 | 9 | 30 | 1 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
Steel-grid pole | 1 |  | 30 | 0 | ED Mreža Al-Ce | For whole mechanisation | ZTS Bratstva jedinstva
...
Wall
...
Advertisement
...
Other

## Luminaires
Additional information about the Public Lighting Project
Data about luminaires
Cluster br. 1 | Savino Selo
Pojasnjenja
Trafo | 8) Name of luminaires | [5 empty] | 9) Tip upravljanja
station | Short name | Full name
TS1 | HgVP | High Pressure Mercury luminaires |  |  |  |  | Full night = FO
TS2 | HgVP-mix | High Pressure Mercury luminaires- with integrated control gear |  |  |  |  | Half night = HN
TS ... | NaVP | Sodium luminaires |  |  |  |  | Decrease the brightness = P
Name of the street | Branka Deletića |  |  |  | ZTS Branko Radičević |  |  | Name of the street | Branka Deletića |  |  |  | ZTS Centar |  |  | Name of the street | Branka Deletića |  |  |  | ZTS M. Tita
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 7 | ZTS Branko Radičević |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 4 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 7 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | 1 | ZTS Branko Radičević |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Branka Radičevića |  |  |  | STS Kosovska |  |  | Name of the street | Branka Radičevića |  |  |  | STS Petra Drapšina |  |  | Name of the street | Branka Radičevića |  |  |  | ZTS Branko Radičević |  |  | Name of the street | Branka Radičevića |  |  |  | ZTS Centar
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 8 | STS Kosovska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 4 | STS Petra Drapšina |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 17 | ZTS Branko Radičević |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 1 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Bratstva jedinstva |  |  |  | MBTS Nikola Tesla |  |  | Name of the street | Bratstva jedinstva |  |  |  | STS Ive Lola Ribara |  |  | Name of the street | Bratstva jedinstva |  |  |  | STS Janka Čmelnika |  |  | Name of the street | Bratstva jedinstva |  |  |  | ZTS Bratstva jedinstva
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 9 | MBTS Nikola Tesla |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 4 | STS Ive Lola Ribara |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 6 | STS Janka Čmelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 8 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | 1 | MBTS Nikola Tesla |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 1 | STS Janka Čmelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Đure Jakšića |  |  |  | STS Đure Jakšića |  |  | Name of the street | Đure Jakšića |  |  |  | STS Ive Lola Ribara |  |  | Name of the street | Đure Jakšića |  |  |  | ZTS Branko Radičević
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 4 | STS Đure Jakšića |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 2 | STS Ive Lola Ribara |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 4 | ZTS Branko Radičević |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Ive Lola Ribara |  |  |  | MBTS Nikola Tesla |  |  | Name of the street | Ive Lola Ribara |  |  |  | STS Ive Lola Ribara |  |  | Name of the street | Ive Lola Ribara |  |  |  | STS Janka Čmelnika |  |  | Name of the street | Ive Lola Ribara |  |  |  | ZTS Bratstva jedinstva
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | 1 | STS Janka Čmelnika |  |  |  |  | replacement only if the luminaire's damage is registered | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 6 | MBTS Nikola Tesla |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 7 | STS Ive Lola Ribara |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 5 | STS Janka Čmelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 6 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 1 | STS Ive Lola Ribara |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Janka Čmelnika |  |  |  | STS Janka Čmelnika |  |  | Name of the street | Janka Čmelnika |  |  |  | STS Kosovska |  |  | Name of the street | Janka Čmelnika |  |  |  | ZTS M. Tita
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 3 | STS Janka Čmelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 10 | STS Kosovska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 9 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | STS Kosovska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 1 | STS Kosovska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | 1 | STS Kosovska |  |  |  |  | replacement only if the luminaire's damage is registered | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Kanalska |  |  |  | MBTS Nikola Tesla
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
Mercury luminaires 8)
HgVP 80/E27
HgVP 125/E27 | 10 | MBTS Nikola Tesla |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High pressure sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the street | Kosovska |  |  |  | STS Kosovska
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
Mercury luminaires 8)
HgVP 80/E27
HgVP 125/E27 | 5 | STS Kosovska |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High pressure sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the street | Maršala Tita |  |  |  | STS Đure Jakšića |  |  | Name of the street | Maršala Tita |  |  |  | STS Petra Drapšina |  |  | Name of the street | Maršala Tita |  |  |  | ZTS Centar |  |  | Name of the street | Maršala Tita |  |  |  | ZTS M. Tita |  |  | Name of the street | Maršala Tita |  |  |  | ZTS Mlin
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 8 | STS Đure Jakšića |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 3 | STS Petra Drapšina |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 17 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 23 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 3 | ZTS Mlin |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | 1 | STS Đure Jakšića |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | 2 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 1 | STS Petra Drapšina |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | 2 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | 4 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | 1 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | 6 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | NaVP 250 | 1 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Nikole Tesle |  |  |  | MBTS Nikola Tesla
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
Mercury luminaires 8)
HgVP 80/E27
HgVP 125/E27 | 4 | MBTS Nikola Tesla |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High pressure sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the street | Petefi Šandora |  |  |  | STS Janka Čmelnika |  |  | Name of the street | Petefi Šandora |  |  |  | ZTS Bratstva jedinstva
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 6 | STS Janka Čmelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 7 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400
Name of the street | Petra Drapšina |  |  |  | MBTS Nikola Tesla |  |  | Name of the street | Petra Drapšina |  |  |  | STS Petra Drapšina |  |  | Name of the street | Petra Drapšina |  |  |  | ZTS Mlin
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 3 | MBTS Nikola Tesla |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 8 | STS Petra Drapšina |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 3 | ZTS Mlin |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the street | Slavka Rodića |  |  |  | ZTS Bratstva jedinstva |  |  | Name of the street | Slavka Rodića |  |  |  | ZTS Centar
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 4 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 8 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 3 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40 | 1 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400
Name of the street | Vukomana Kruščića |  |  |  | ZTS Bratstva jedinstva |  |  | Name of the street | Vukomana Kruščića |  |  |  | ZTS M. Tita
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level |  |  |  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40
Mercury luminaires 8) | [7 empty] | Mercury luminaires 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 2 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 12 | ZTS M. Tita |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40
High pressure sodium | [7 empty] | High pressure sodium
NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400
Name of the street | Železnička |  |  |  | ZTS Bratstva jedinstva
| Number of luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Tip9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
Mercury luminaires 8)
HgVP 80/E27
HgVP 125/E27 | 11 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40 | 2 | ZTS Bratstva jedinstva |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40
High pressure sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400