## Trafo Stations
Additional information about the Public Lighting Project
Data for trafo-stations
Cluster number. 4 | Kucura
Explanations
1) Type TS | 2) Way of connocting/disconnocting PL | 3) PL controlling system | 4)Type of controlling
Brick | From TS | MTK | Full night = FO
Metal | Relay ( specify which TS runs a series) | RTK | Half night = HN
MBTS |  | Timer | Decrease the brightnoss = P
In the building |  | Foto-relay
Tower |  | RTK
PVC |  | Other
On metal pole
On concrete pole
steel "portal"
wooden "portal"
other
1 Trafo-station (TS) and technical data | TS 1
2 Name: | Benzinska pumpa | year | 1970
3 Electro - Distribution: | Sombor | input circuit | 25A, 25A
4 Tip TS1): | Stubna, na čeličnom stubu | constant: | 1
5 Adress | Maršala Tita BB
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available): | 160 kVA
8 Way of connocting/disconnecting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T21C
13 Registration number of metering system | 919229
14 Nominal Current [A] (if the information is available) | 10-40A
15 Consumer number: | 83 43292
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 2
2 Name: | Partizanska | year | 1982
3 Electro - Distribution: | Sombor | input circuit | 160A, 160A, 160A
4 Tip TS1): | MBTS | output circuit: | 100A, 100A, 100A
5 Adress | Partizanska BB | constant: | 20
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T3CT1
13 Registration number of metering system | 6036026
14 Nominal Current [A] (if the information is available) | 5A
15 Consumer number: | 83 5188
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 3
2 Name: | Ise Sekickog | year | 2012
3 Electro - Distribution: | Sombor | input circuit | 63A, 63A, 63A
4 Tip TS1): | Steel Pole | output circuit:
5 Adress | Ise Sekickog BB | constant: | 1
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available): | 160 kVA
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | Foto rele
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | DB2 Enel Beograd
13 Registration number of metering system | 289438
14 Nominal Current [A] (if the information is available) | 10-60A
15 Consumer number: | 83 204397
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 4
2 Name: | Prevodnica | year | 1975
3 Electro - Distribution: | Sombor | input circuit | 100A, 100A, 100A
4 Tip TS1): | Tower | output circuit: | 80A, 80A, 80A
5 Adress | kod prevodnice | constant: | 20
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T22t Iskra Kranj
13 Registration number of metering system | 1912034
14 Nominal Current [A] (if the information is available) | 5A
15 Consumer number: | 83 5293
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 5
2 Name: | Preko šlajza na stubu | year | 1976
3 Electro - Distribution: | Sombor | input circuit | 25A
4 Tip TS1): | Numberilo na stubu | output circuit:
5 Adress | Đure Biljne BB | constant: | 1
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | Foto rele
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | E7C
13 Registration number of metering system | 8592521
14 Nominal Current [A] (if the information is available) | 10-40A
15 Consumer number: | 83 5315
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 6
2 Name: | Roko | year | 1978
3 Electro - Distribution: | Sombor | input circuit | 63A, 63A, 160A
4 Tip TS1): | Steel Pole | output circuit: | 63A, 63A, 63A, 80A
5 Adress | Ise Sekickog BB | constant: | 1
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available): | 400 kVA
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T3c Iskra Kranj
13 Registration number of metering system | 3502107
14 Nominal Current [A] (if the information is available) | 10-40A
15 Consumer number: | 83 30840
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 7
2 Name: | Mučenika Papuge | year | 1997
3 Electro - Distribution: | Sombor | input circuit | 100A
4 Tip TS1): | Steel Pole | output circuit: | 100A
5 Adress | Papuge Mučenika BB | constant: | 1
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available): | 250 kVA
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | TE3d4R Ei
13 Registration number of metering system | 107322
14 Nominal Current [A] (if the information is available) | 10-40A
15 Consumer number: | 83 56092
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 8
2 Name: | Novo Selo | year | 1978
3 Electro - Distribution: | Sombor | input circuit | 160A, 100A, 100A
4 Tip TS1): | Tower | output circuit: | 80A, 100A, 80A
5 Adress | Maršala Tita BB | constant: | 20
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T22tD Iskra Kranj
13 Registration number of metering system | 3244350
14 Nominal Current [A] (if the information is available) | 5A
15 Consumer number: | 83 4858
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 9
2 Name: | Žarka Zrenjanina | year | 1977
3 Electro - Distribution: | Sombor | input circuit | 160A, 125A, 160A
4 Tip TS1): | MBTS | output circuit: | 100A, 100A, 80A, 63A, 80A
5 Adress | I.Milutinovića BB | constant: | 20
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T22t Iskra Kranj
13 Registration number of metering system | 2982496
14 Nominal Current [A] (if the information is available) | 5A
15 Consumer number: | 83 4840
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 10
2 Name: | G. Kostelnika | year | 1994
3 Electro - Distribution: | Sombor | input circuit | 63A, 80A, 80A
4 Tip TS1): | Steel Pole | output circuit: | 63A, 63A, 50A
5 Adress | Ugao trg Osl.-G.Kosteln | constant: | 1
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available): | 400 kVA
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T3F Ei
13 Registration number of metering system | 20134
14 Nominal Current [A] (if the information is available) | 10-40A
15 Consumer number: | 83 53140
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 11
2 Name: | Đ. Biljna | year | 1981
3 Electro - Distribution: | Sombor | input circuit | 125A, 125A, 100A
4 Tip TS1): | Steel Pole | output circuit: | 80A, 63A, 63A, 63A
5 Adress | Đure Biljne BB | constant: | 1
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T3F
13 Registration number of metering system | 3876326
14 Nominal Current [A] (if the information is available) | 10-60A
15 Consumer number: | 83 15817
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 12
2 Name: | FA | year | 1977
3 Electro - Distribution: | Sombor | input circuit | 80A, 100A, 80A
4 Tip TS1): | Tower | output circuit: | 80A, 80A, 160A
5 Adress | Maršala Tita BB | constant: | 20
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T22t Iskra
13 Registration number of metering system | 2926038
14 Nominal Current [A] (if the information is available) | 5A
15 Consumer number: | 83 5153
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 13
2 Name: | I.L.Ribara | year | 2003
3 Electro - Distribution: | Sombor | input circuit | 35A, 35A, 50A
4 Tip TS1): | Steel Pole | output circuit:
5 Adress | I.L.Ribara - Đ.Biljne | constant: | 1
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available): | 400 kVA
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | 10A2N4111 sitel
13 Registration number of metering system | 52772
14 Nominal Current [A] (if the information is available) | 10-40A
15 Consumer number: | 83 60294
16 Remote Reading [yes/no]: | ne
1 Trafo- Station (TS) and technical data | TS 14
2 Name: | Centar | year | 1986
3 Electro - Distribution: | Sombor | input circuit | 100A, 100A, 100A
4 Tip TS1): | Tower | output circuit: | 100A, 100A, 63A, 63A, 63A, 125A, 63A, 63A, 63A
5 Adress | Maršala Tita BB | constant: | 20
6Number of transformers (if the information is available):
7 Installed capacity of each transformer (if information is available):
8 Way of connocting/disconnocting to PL2) | from TS
9 Control System PL3) | RTK
10 Type of control4) | CN
11 Extract and meter of PL | 1 | 2 | 3 | 4
12 Type of: | T3 CTV Iskra Kranj
13 Registration number of metering system | 6162032
14 Nominal Current [A] (if the information is available) | 5A
15 Consumer number: | 83 4980
16 Remote Reading [yes/no]: | ne

## Connection Points
Additional information about the Public Lighting Project
Data for connection points
Cluster number. 4 | Kucura
Explanations
5) Category Roads |  |  |  | 6) Presence of other installations |  |  |  | 7) Accessibility for mechanisation
Highway | Header |  |  | ED Mreža Al-Ce |  |  |  | For whole mechanisation
Regional | Accessible |  |  | ED Mreža SKS |  |  |  | Only for light vehicles
City street 1 Class | Pedestrian Zone |  |  | TT |  |  |  | For off-road vehicles
City street 2 Class | Decorative-Monument |  |  | Public Transport |  |  |  | Non-accessible
Rural Street | Decorative-Facade |  |  | Cable TV
Other
1 Name of the street | Branka Ćopića
2 Length of street [m] | 456
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 12
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | AConnected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 4 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 4 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Đure Biljne
2 Length of street [m] | 1338
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 51
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | Orman na stubu
Wooden Pole | 2 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Wooden Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | Orman na stubu
Wooden Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | Orman na stubu
...
Concrete Pole
...
Concrete Pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | Orman na stubu
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 2 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | Orman na stubu
Concrete Pole | 2 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 2 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | Orman na stubu
Concrete Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 6 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Steel-grid pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Steel-grid pole | 1 | 6.5 |  | 2 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Steel-grid pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Steel-grid pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Steel-grid pole | 1 | 7.5 |  | 2 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Gabra Kostelnika
2 Length of street [m] | 1270
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 34
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 2 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 5 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 8 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Gavrila Principa
2 Length of street [m] | 113
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 16
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Wooden Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
...
Concrete Pole
...
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
| 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
| 4 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Grmečka
2 Length of street [m] | 450
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 26
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 2 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 9 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 7 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Concrete Pole | 3 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
Steel-grid pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Prevodnica
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Ise Sekickog
2 Length of street [m] | 1825
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 56
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Wooden Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Wooden Pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
...
Concrete Pole
...
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Ise Sekickog
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 2 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ise Sekickog
Concrete Pole | 8 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ise Sekickog
Concrete Pole | 5 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Concrete Pole | 4 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 4 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ise Sekickog
Concrete Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Concrete Pole | 4 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ise Sekickog
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Ise Sekickog
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ise Sekickog
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Steel-grid pole | 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Ive Lole Ribara
2 Length of street [m] | 1874
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 55
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 4 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 2 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 9 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 6 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 5 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 4 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Steel-grid pole | 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Ive Lole Ribara
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Maršala Tita
2 Length of street [m] | 2165
3 Street Category5) | Magistralna
4 Total number of connection points | 47
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 2 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 2 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Concrete Pole | 5 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 6 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 10 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Concrete Pole | 4 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 2 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Centar
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Mlinska
2 Length of street [m] | 571
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 16
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Novi šor
2 Length of street [m] | 1902
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 51
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 4 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 8 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 4 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 4 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Concrete Pole | 7 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Concrete Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
Concrete Pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Fa
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Đure Biljne
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Oslobođenja
2 Length of street [m] | 1482
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 34
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | AConnected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Stub - drevni
...
Concrete Pole
...
Concrete Pole | 5 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 6 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 2 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 5 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 8 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Steel-grid pole | 2 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Steel-grid pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Steel-grid pole | 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Steel-grid pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Partizanska
2 Length of street [m] | 858
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 71
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Wooden Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Wooden Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Wooden Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
...
Concrete Pole
...
Concrete Pole | 16 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 2 | 5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 2 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 14 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 4 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
| 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
| 5 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
| 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
| 4 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
| 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
| 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
| 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
| 1 | 7.5 |  | 2 | ED Mreža Al-Ce | For the whole mechanisation | STS Benzinska pumpa
Steel-grid pole | 1 | 8 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Petefi Šandora
2 Length of street [m] | 686
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 18
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
Concrete Pole | 7 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Gabra Kostelnika
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Svetog mučenika Papuge
2 Length of street [m] | 355
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 42
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 2 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
...
Concrete Pole
...
Concrete Pole | 2 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 7 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Concrete Pole | 3 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 1 | 5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Concrete Pole | 6 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Concrete Pole | 4 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Concrete Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Concrete Pole | 4 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Steel-grid pole | 1 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Steel-grid pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Steel-grid pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
Steel-grid pole | 3 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Mučenika Papuge
Steel-grid pole | 3 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | ZTS Novo Selo
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Vlade Čordaša
2 Length of street [m] | 465
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 19
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 7 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 7 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 3 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Steel-grid pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Vladimira Gorjanskog
2 Length of street [m] | 301
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 6
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
Concrete Pole | 1 | 9 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | STS Roko
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Vladimira Nazora
2 Length of street [m] | 622
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 32
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole | 5 |  |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Wooden Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Wooden Pole | 2 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
...
Concrete Pole
...
Concrete Pole | 7 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 2 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 4 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
Concrete Pole | 5 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 4 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Partizanska
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Vojvođanska
2 Length of street [m] | 552
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 20
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 7 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 3 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 7 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 2 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other
1 Name of the street | Žarka Zrenjanina
2 Length of street [m] | 536
3 Street Category5) | Gradska saobraćajnica I reda
4 Total number of connection points | 21
Vrsta prikljucnog mesta | Number | Height [m] | Estimated distance between the connection points [m] | Number of luminaires per connection point | Presence of other installations 6) | Accesibility for mechanisation | Connected to the transformer station (enter the name of the substation) | Comment
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Wooden Pole
...
Concrete Pole
...
Concrete Pole | 6 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 1 | 5.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 4 | 6 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 3 | 6.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Concrete Pole | 3 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
...
Concrete supp. 40 angular pole
...
Concrete supp. 60 angular pole
...
Steel-grid pole | 1 |  |  | 0 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Steel-grid pole | 1 | 7 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Steel-grid pole | 1 | 7.5 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
Steel-grid pole | 1 | 8 |  | 1 | ED Mreža Al-Ce | For the whole mechanisation | MBTS Žarka Zrenjanina
...
candélabre
...
Brace
...
Wall
...
Advertisement
...
Other

## Luminaires
Additional information about the Public Lighting Project
Data about luminaires
Cluster number. 4 | Kucura
Explanations
Trafo | 8) Name of luminaires | [5 empty] | 9) Type of control
station | Short name | Full name
TS1 | HgVP | High Pressure Mercury luminaires |  |  |  |  | Full night = FO
TS2 | HgVP-mix | High Pressure Mercury luminaires- with integrated control gear |  |  |  |  | Half night = HN
TS ... | NaVP | Sodium luminaires |  |  |  |  | Decrease the brightness = P
Name of the Street | Branka Ćopića |  |  |  | ZTS Prevodnica
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 8 | ZTS Prevodnica |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the Street | Đure Biljne |  |  |  | Orman na stubu |  |  | Name of the Street | Đure Biljne |  |  |  | STS Đure Biljne |  |  | Name of the Street | Đure Biljne |  |  |  | STS Ive Lole Ribara |  |  | Name of the Street | Đure Biljne |  |  |  | ZTS Prevodnica
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 6 | Orman na stubu |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 5 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 9 | STS Ive Lole Ribara |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 11 | ZTS Prevodnica |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | 1 | Orman na stubu |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | ZTS Prevodnica |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 1 | ZTS Prevodnica |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Đure Biljne |  |  |  | STS Gas Station |  |  | Name of the Street | Đure Biljne |  |  |  | STS Đure Biljne |  |  | Name of the Street | Đure Biljne |  |  |  | STS Gabra Kostelnika
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 5 | STS Benzinska pumpa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 13 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 6 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 2 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Gavrila Principa |  |  |  | ZTS Fa
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 10 | ZTS Fa |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the Street | Grmečka |  |  |  | ZTS Prevodnica
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 21 | ZTS Prevodnica |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40 | 3 | ZTS Prevodnica |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40 | 2 | ZTS Prevodnica |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the Street | Ise Sekickog |  |  |  | STS Ise Sekickog |  |  | Name of the Street | Ise Sekickog |  |  |  | STS Mučenika Papuge |  |  | Name of the Street | Ise Sekickog |  |  |  | STS Roko
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 16 | STS Ise Sekickog |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 9 | STS Mučenika Papuge |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 12 | STS Roko |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 3 | STS Roko |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Ive Lole Ribara |  |  |  | MBTS Partizanska |  |  | Name of the Street | Ive Lole Ribara |  |  |  | STS Ive Lole Ribara |  |  | Name of the Street | Ive Lole Ribara |  |  |  | ZTS Centar |  |  | Name of the Street | Ive Lole Ribara |  |  |  | ZTS Novo Selo
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 10 | MBTS Partizanska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 10 | STS Ive Lole Ribara |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 5 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 14 | ZTS Novo Selo |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 1 | STS Ive Lole Ribara |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Maršala Tita |  |  |  | STS Đure Biljne |  |  | Name of the Street | Maršala Tita |  |  |  | ZTS Centar |  |  | Name of the Street | Maršala Tita |  |  |  | ZTS Fa |  |  | Name of the Street | Maršala Tita |  |  |  | ZTS Novo Selo
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | [7 empty] | HgVP 125/E27 | 8 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 11 | ZTS Fa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 11 | ZTS Novo Selo |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | 1 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | ZTS Fa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 2 | ZTS Centar |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | 2 | ZTS Fa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Mlinska |  |  |  | STS Đure Biljne |  |  | Name of the Street | Mlinska |  |  |  | STS Gabra Kostelnika
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 7 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 4 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | 1 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | 1 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Novi šor |  |  |  | STS Benzinska pumpa |  |  | Name of the Street | Novi šor |  |  |  | STS Đure Biljne |  |  | Name of the Street | Novi šor |  |  |  | STS Gabra Kostelnika |  |  | Name of the Street | Novi šor |  |  |  | ZTS Fa |  |  | Name of the Street | Novi šor |  |  |  | ZTS Novo Selo
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 3 | STS Benzinska pumpa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 10 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 6 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 5 | ZTS Fa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 9 | ZTS Novo Selo |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 2 | STS Đure Biljne |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | ZTS Fa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40
HgVP 400/E40 | 1 | STS Benzinska pumpa |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Oslobođenja |  |  |  | STS Gabra Kostelnika |  |  | Name of the Street | Oslobođenja |  |  |  | STS Roko
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 4 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 11 | STS Roko |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | 1 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40
HgVP 400/E40 | 1 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | 1 | STS Roko |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Partizanska |  |  |  | MBTS Partizanska |  |  | Name of the Street | Partizanska |  |  |  | STS Benzinska pumpa
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 32 | MBTS Partizanska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 10 | STS Benzinska pumpa |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | 1 | MBTS Partizanska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | 1 | STS Benzinska pumpa |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40 | 2 | MBTS Partizanska |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 400/E40 | 4 | STS Benzinska pumpa |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Petefi Šandora |  |  |  | MBTS Žarka Zrenjanina |  |  | Name of the Street | Petefi Šandora |  |  |  | STS Gabra Kostelnika
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 7 | MBTS Žarka Zrenjanina |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 5 | STS Gabra Kostelnika |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40
HgVP 400/E40 | [7 empty] | HgVP 400/E40
HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Svetog mučenika Papuge |  |  |  | MBTS Žarka Zrenjanina |  |  | Name of the Street | Svetog mučenika Papuge |  |  |  | STS Mučenika Papuge |  |  | Name of the Street | Svetog mučenika Papuge |  |  |  | ZTS Novo Selo
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year] |  | Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level |  |  |  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent | [7 empty] | Incandescent | [7 empty] | Incandescent
Incandescent100/E27 | [7 empty] | Incandescent100/E27 | [7 empty] | Incandescent100/E27
Incandescent200/E27 | [7 empty] | Incandescent200/E27 | [7 empty] | Incandescent200/E27
Incandescent300/E40 | [7 empty] | Incandescent300/E40 | [7 empty] | Incandescent300/E40
High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8) | [7 empty] | High Pressure Mercury 8)
HgVP 80/E27 | [7 empty] | HgVP 80/E27 | [7 empty] | HgVP 80/E27
HgVP 125/E27 | 4 | MBTS Žarka Zrenjanina |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 14 | STS Mučenika Papuge |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 125/E27 | 4 | ZTS Novo Selo |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27 | [7 empty] | HgVP-mix 160/E27
HgVP 250/E40 | [7 empty] | HgVP 250/E40 | 1 | STS Mučenika Papuge |  |  |  |  | replacement only if the luminaire's damage is registered | HgVP 250/E40 | 1 | ZTS Novo Selo |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40 | [7 empty] | HgVP 400/E40 | [7 empty] | HgVP 400/E40 | 3 | ZTS Novo Selo |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 700/E40 | [7 empty] | HgVP 700/E40 | [7 empty] | HgVP 700/E40
High Pressure Sodium | [7 empty] | High Pressure Sodium | [7 empty] | High Pressure Sodium
NaVP 50 | [7 empty] | NaVP 50 | [7 empty] | NaVP 50
NaVP 70 | [7 empty] | NaVP 70 | [7 empty] | NaVP 70
NaVP 100 | [7 empty] | NaVP 100 | [7 empty] | NaVP 100
NaVP 150 | [7 empty] | NaVP 150 | [7 empty] | NaVP 150
NaVP 250 | [7 empty] | NaVP 250 | [7 empty] | NaVP 250
NaVP 400 | [7 empty] | NaVP 400 | [7 empty] | NaVP 400
Name of the Street | Vlade Čordaša |  |  |  | MBTS Žarka Zrenjanina
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 12 | MBTS Žarka Zrenjanina |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the Street | Vladimira Gorjanskog |  |  |  | STS Roko
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 6 | STS Roko |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the Street | Vladimira Nazora |  |  |  | MBTS Partizanska
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 20 | MBTS Partizanska |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the Street | Vojvođanska |  |  |  | MBTS Žarka Zrenjanina
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 10 | MBTS Žarka Zrenjanina |  |  |  |  | replacement only if the luminaire's damage is registered | dve metal halogene od 250W
HgVP-mix 160/E27
HgVP 250/E40
HgVP 400/E40
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400
Name of the Street | Žarka Zrenjanina |  |  |  | MBTS Žarka Zrenjanina
| Number of Luminaires | Connection to trafo-station (name of TS) | Control |  |  |  | Yearly exchange rate [1/year]
|  |  | Type 9) | Decrease the brightness in (%) | Decrease of the luminaires'capacity (W) | Working hours at decreased level
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Incandescent
Incandescent100/E27
Incandescent200/E27
Incandescent300/E40
High Pressure Mercury 8)
HgVP 80/E27
HgVP 125/E27 | 12 | MBTS Žarka Zrenjanina |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP-mix 160/E27
HgVP 250/E40 | 1 | MBTS Žarka Zrenjanina |  |  |  |  | replacement only if the luminaire's damage is registered
HgVP 400/E40
HgVP 700/E40
High Pressure Sodium
NaVP 50
NaVP 70
NaVP 100
NaVP 150
NaVP 250
NaVP 400